## Siracusa
time_day | [42 empty] | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak |  |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak
| time_hour | [41 empty] | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour |  |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour
|  | needs | [6 empty] | n.1 | n.2 | n.4 | n.5 | n.6 | n.7
|  |  | flows | [27 empty] | non-storage technologies | [9 empty] | Storage technology
|  |  |  | techs | [26 empty] | t.1 | t.2 |  | t.3 |  | t.6 |  | t.9 | t.10 | t.11 | t.12 | t.13
[5 empty] | activ | [9 empty] | a.1 | a.2 | a.3 | a.4 |  | a.5a | a.5b | a.5c | a.6 | a.7 | a.8 | a.9 | a.10 | a.11 | a.12
[6 empty] | name |  |  | EE | Sanitary Hot water | Heat | Cool | Cooking | Natural Gas | PV | National Grid import | National Grid export | Battery charge | Boiler heating | HP heating winter | HP heating summer | HP cooling summer | AC | HW storage charge | Radiators | Floor heating | Induction stove | Gas stove | Natural Gas supply grid |  | PV | National Grid | Gas Boiler | HP | AC | Radiators | Floor heating | Induction stove | Gas stove | Natural Gas supply grid | Battery | HW storage
[7 empty] | unit |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | smc |  | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | smc | kWh | kWh
[15 empty] | u | [27 empty] | Q_needs | [6 empty] | Y | [6 empty] | Thermal Insulation | TI | Q_n-uX'-Y-curtail = 0 | [7 empty] | Curtailment
|  | n.1 |  |  |  | EE | kWh |  | opex | capex | min(cost) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0.27778 | 0.2 | 0.16667 | 0 | 0 | 0 | 0 | 1.25 | 0 | 0 | [13 empty] | 15.1627 | 9.2778 | 15.1667 | 13.7 | 8.2 | 13.9 | 12.4 | 10 | 8 | 10 | 10 | 8 | 10 | 12 | 0 | 1 | 3.5 | 2.2222e-08 | 3.5 | 3.5 | -8.8818e-16 | 3.5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.2 |  |  |  | Sanitary Hot water | kWh |  | 1755.8839 | 640 | 15304.0004 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-05 | 1.3 | 1.15 | 0 | 0 | 0 | [13 empty] | 7 | 4.6 | 8 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 1 | 1 | 2 | 2 | 0 | 1 | -0.50001 | -0.3 | -0.50002 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.4 |  |  |  | Heat | kWh |  | discount rate | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 5 | 3 | 5 | 0 | 0 | 0 | 0 | 5 | 3 | 5 | 0 | 0 | 0 | 0 | -0.1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.5 |  |  |  | Cool | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.05 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.6 |  |  |  | Cooking | kWh |  | 0.0425 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 2 | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.7 |  |  |  | Natural Gas | smc | [7 empty] | 0 | 0 | 0 | 0 | 1.0526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22844 | 0 | [13 empty] | 0.11422 | 0.22844 | 0.45687 | 0.11422 | 0.22844 | 0.45687 | 0.45687 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3.7427e-09 | -2.5146e-09 | 4.9708e-09 | 3.7427e-09 | -2.5146e-09 | 4.9708e-09 | 4.9708e-09 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | d | [21 empty] | I_at | [18 empty] | EE constraint | HW constraint | [5 empty] | Install TI |  | d*X'-Q = 0 | [7 empty] | (Xmax-X_agg_no_stor) ' > 0
[5 empty] | a.1 | PV | kWh |  | 1 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 1 | 0 | [5 empty] | 0 |  | -1e-07 | 0 | -3e-07 | 0 | 0 | 0 | 0 |  | -0.9 | -1.8 | -0.9 | -1.8 | -2.7 | -1.8 | 0
[5 empty] | a.2 | National Grid import | kWh |  | 1 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0 | [5 empty] | TI inv cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -7.2294 | -5.7778 | -10.7 | -10.2 | -3.8 | -10.4 | -10.7
[5 empty] | a.3 | National Grid export | kWh |  | -1 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | -1 | 0 | [5 empty] | 10000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.4 | Battery charge | kWh |  | 1 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | [7 empty] | 1 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -5.9858 | -4.6 | -6 | -1 | -1 | -2 | -2
[6 empty] | Gas boiler heating | kWh |  | 0 | 1 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 1 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.5a | HP heating winter | kWh |  | 0 | 1 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 1 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -5 | -3 | -5 | 0 | 0 | 0 | 0
[5 empty] | a.5b | HP heating summer | kWh |  | 0 | 1 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 1 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.5c | HP cooling summer | kWh |  | 0 | 0 | 0 | 1 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.6 | AC | kWh |  | 0 | 0 | 0 | 1 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0 | [15 empty] | 5.5 | 5 | 4 | 5.5 | 5 | 4 | 4
[5 empty] | a.7 | HW storage charge | kWh |  | 0 | 1 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [7 empty] | 0 | 1 | [15 empty] | -0.11422 | -0.22844 | -0.45687 | -0.11422 | -0.22844 | -0.45687 | -0.45687
[5 empty] | a.8 | Radiators | kWh |  | 0 | 0 | 1 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0
[5 empty] | a.9 | Floor heating | kWh |  | 0 | 0 | 1 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0
[5 empty] | a.10 | Induction stove | kWh |  | 0 | 0 | 0 | 0 | 1 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0
[5 empty] | a.11 | Gas stove | kWh |  | 0 | 0 | 0 | 0 | 1 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [7 empty] | 0 | 0
[5 empty] | a.12 | Natural Gas supply grid | smc |  | 0 | 0 | 0 | 0 | 0 | 1 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | [7 empty] | 0 | 0
Activity contraints>0
[6 empty] | Operative costs | €/- | [7 empty] | 0 | 0.15 | -0.08 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0.55 | [36 empty] | EE export and storage | 6.2333 | 1.8 | 2.7667 | 1.8 | 2.7 | 1.8 | 0
[6 empty] | Capital costs | €/- | [22 empty] | c_c | 2000 | 100 | 1000 | 3000 | 2000 | 3000 | 7000 | 250 | 150 | 60 | 2000 | 200 | [23 empty] | HW storage | 7 | 4.6 | 8 | 1 | 1 | 2 | 2
[6 empty] | initial capacity | - | [22 empty] | C_i | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | BEV charge home
[31 empty] | Capacity factor | [9 empty] | SOC |  | Start cooling | HW | Cooling factor |  |  |  |  | Thh | [16 empty] | max-SOC>0
d.1 | h.1 | [29 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -5.3333 | -1.0142 | 1 | 1 | 0.986 |  |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 5.3333 | 5.3333 | 7.2 | 7.2 | 7.2 | 7.2
d.1 | h.2 | [29 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -5.3333 | -1 | 1 | 0.986 | [5 empty] | 1 | 1 | 0 | 0 | 0 | 0 | [11 empty] | 1.0142 | 1 | 2.986 | 2.9442 | 2.903 | 2.8623
d.1 | h.3 | [29 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7.2 | -2.986 | 1 | 0.9722 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0
d.2 | h.1 | [29 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7.2 | -2.9442 | 1 | 0.95859 | [5 empty] | 1 | 1 | 1 | 1 | 0 | 0 | [11 empty] | SOC-min>0
d.2 | h.2 | [29 empty] | 0.3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7.2 | -2.903 | 1 | 0.94517 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 0 | [11 empty] | -5.3333 | -5.3333 | -7.2 | -7.2 | -7.2 | -7.2
d.2 | h.3 | [29 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7.2 | -2.8623 | 1 | 0.93193 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | -1.0142 | -1 | -2.986 | -2.9442 | -2.903 | -2.8623
peak | peak_hour | [29 empty] | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [26 empty] | MAX_dis-X_ch>0
[15 empty] | X | [15 empty] | soc min | HW | soc max | HW | soc start | HW | max dis | HW | min dis | [10 empty] | Thh cooling | [16 empty] | -5.3333 | 0 | -1.8667 | 0 | 0 | 0 | 0
d.1 | h.1 |  |  |  |  | Production | [8 empty] | 0.9 | 8.9294 | 0 | 5.3333 | 0 | 5.9858 | 0 | 0 | 0 | 1.0142 | 5 | 0 | 0 | 0.5 | 0.11422 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6 | [10 empty] | 1 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.1 | h.2 | [13 empty] | 1.8 | 7.4778 | 0 | 0 | 0 | 4.6 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0.22844 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6 | [10 empty] | 0.986 | 1 | 0 | 0 | 0 | 0 | [11 empty] | X_ch-MIN_ch>0
d.1 | h.3 | [13 empty] | 0.9 | 12.4 | 0 | 1.8667 | 0 | 6 | 0 | 0 | 0 | 2 | 5 | 0 | 0 | 2 | 0.45687 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6 | [10 empty] | 0.9722 | 0.986 | 1 | 0 | 0 | 0 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.2 | h.1 | [13 empty] | 1.8 | 11.9 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.11422 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6 | [10 empty] | 0.95859 | 0.9722 | 0.986 | 1 | 0 | 0 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.2 | h.2 | [13 empty] | 2.7 | 5.5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.22844 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6 | [10 empty] | 0.94517 | 0.95859 | 0.9722 | 0.986 | 1 | 0 | [11 empty] | max-BEV SOC>0
d.2 | h.3 | [13 empty] | 1.8 | 12.1 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.45687 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6 | [10 empty] | 0.93193 | 0.94517 | 0.95859 | 0.9722 | 0.986 | 1 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
peak | peak_hour | [13 empty] | 0 | 12.4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.45687 | [7 empty] | 0 | 0 | -0.6 | [27 empty] | BEV SOC-min>0
[15 empty] | C_oper_tot | [15 empty] | SOC min |  | SOC max |  | SOC start |  | MAX dis |  | MIN dis | [27 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.1 | h.1 | [13 empty] | 0 | 1.3394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06282 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d.1 | h.2 | [13 empty] | 0 | 1.1217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12564 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [28 empty] | Season limit >0
d.1 | h.3 | [13 empty] | 0 | 1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25128 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [28 empty] | -5.9858 | -4.6 | -6 | 0 | 0 | 0 | 0
d.2 | h.1 | [13 empty] | 0 | 1.785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06282 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [28 empty] | 0 | 0 | 0 | -1 | -1 | -2 | -2
d.2 | h.2 | [7 empty] | Days per type | [5 empty] | 0 | 0.825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12564 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d.2 | h.3 | [6 empty] | d.1 | d.2 | peak |  |  |  |  | 0 | 1.815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25128 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [28 empty] | Active units
peak | peak_hour | [6 empty] | 190 | 175 | 0 |  |  |  |  | 0 | 1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25128 | [7 empty] | 0 | 0 | [27 empty] | >=0 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0
[31 empty] | Xmax_no_stor | [34 empty] | >=0 | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0
d.1 | h.1 | [18 empty] | a.5a: 0.7; a.5b: 0 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.1 | h.2 | [6 empty] | I_hd | [11 empty] | a.5a: 0.7; a.5b: 0 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.1 | h.3 | [6 empty] | 1 | 0 | 0 | [9 empty] | a.5a: 0.7; a.5b: 0 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.2 | h.1 | [6 empty] | 1 | 0 | 0 | [9 empty] | a.5a: 0; a.5b: 1 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.2 | h.2 | [6 empty] | 1 | 0 | 0 | [9 empty] | a.5a: 0; a.5b: 1 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.2 | h.3 | [6 empty] | 0 | 1 | 0 | [9 empty] | a.5a: 0; a.5b: 1 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
peak | peak_hour | [6 empty] | 0 | 1 | 0 | [9 empty] | a.5a: 0; a.5b: 1 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
[8 empty] | 0 | 1 | 0 |  |  |  |  | Activity seasonal limit | [15 empty] | X_agg (no_stor)
d.1 | h.1 | [6 empty] | 0 | 0 | 1 | [9 empty] | a.5a: 0; a.5b: 0 |  | 0.9 | 8.9294 | 0 | 5.9858 | 0 | 5 | 0 | 0 | 0.5 | 0.11422 | 5.3333 | 1.0142
d.1 | h.2 | [18 empty] | a.5a: 0; a.5b: 0 |  | 1.8 | 7.4778 | 0 | 4.6 | 0 | 3 | 0 | 0 | 1 | 0.22844 | 0 | 0
d.1 | h.3 | [18 empty] | a.5a: 0; a.5b: 0 |  | 0.9 | 12.4 | 0 | 6 | 0 | 5 | 0 | 0 | 2 | 0.45687 | 1.8667 | 2
d.2 | h.1 | [18 empty] | a.5a: 0; a.5b: 0 |  | 1.8 | 11.9 | 0 | 1 | 0 | 0 | 0 | 0 | 0.5 | 0.11422 | 0 | 0
d.2 | h.2 | [18 empty] | a.5a: 0; a.5b: 0 |  | 2.7 | 5.5 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.22844 | 0 | 0
d.2 | h.3 | [18 empty] | a.5a: 0; a.5b: 0 |  | 1.8 | 12.1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0.45687 | 0 | 0
peak | peak_hour | [18 empty] | a.5a: 0; a.5b: 0 |  | 0 | 12.4 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0.45687 | 0 | 0
[7 empty] | year |  | 1/(1+r)^y | [21 empty] | capacity units
[7 empty] | 0 |  | 1 | [21 empty] | 1 | 0.5 | 5 | 4 | 5 | 20 | 20 | 3 | 3 | 0 | 3 | 5
[7 empty] | 1 |  | 0.95923 | [21 empty] | new_units
[7 empty] | 2 |  | 0.92013 | [21 empty] | 0 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0
[7 empty] | 3 |  | 0.88262 | [21 empty] | cap_new
[7 empty] | 4 |  | 0.84663 | [21 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0
[7 empty] | 5 |  | 0.81212 | [5 empty] | Activity capacity | [15 empty] | Tot capacity
[7 empty] | 6 |  | 0.77901 | [5 empty] | 0 | 1.7 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0
[7 empty] | 7 |  | 0.74725 | [21 empty] | capacity_cost
[7 empty] | 8 |  | 0.71679 | [21 empty] | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 9 |  | 0.68757 | [21 empty] | period_cost
[31 empty] | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170 | 0 | 0
active_techs
[31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
yearly_costs
[31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on BU32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Su pyesm è ore x tech perchè non c’è un filtro per le 3 tech interessate

## Siracusa (2)
time_day | [44 empty] | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak |  |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak
| time_hour | [43 empty] | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour |  |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour
|  | needs | [6 empty] | n.1 | n.2 | n.4 |  | n.5 | n.6 | n.7
|  |  | flows | [29 empty] | non-storage technologies | [9 empty] | Storage technology
|  |  |  | techs | [28 empty] | t.1 | t.2 |  | t.3 |  | t.6 |  | t.9 | t.10 | t.11 | t.12 | t.13
[5 empty] | activ | [10 empty] | a.1 | a.2 | a.3 | a.4 |  | a.5a | a.5b | a.5c | a.6 | a.7 |  | a.8 | a.9 | a.10 | a.11 | a.12
[6 empty] | name |  |  | EE | Hot water | Heat | SHW | Cool | Cooking | Natural Gas | PV | National Grid import | National Grid export | Battery charge | Boiler heating | HP heating winter | HP heating summer | HP cooling summer | AC | HW storage charge | HW storage discharge | Radiators | Floor heating | Induction stove | Gas stove | Natural Gas supply grid |  | PV | National Grid | Gas Boiler | HP | AC | Radiators | Floor heating | Induction stove | Gas stove | Natural Gas supply grid | Battery | HW storage
[7 empty] | unit |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | smc |  | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | smc | kWh | kWh
[16 empty] | u | [28 empty] | h.1: Q_needs |  | Y | [6 empty] | Thermal Insulation | TI | Q_n-uX'-Y-curtail = 0 | [7 empty] | Curtailment
|  | n.1 |  |  |  | EE | kWh |  | opex | capex | min(cost) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0.27778 | 0.2 | 0.16667 | 0 | 0 | 0 | 0 | 0 | 1.25 | 0 | 0 | [13 empty] | 15.1627 | 9.2778 | 15.1667 | 13.7 | 8.2 | 13.9 | 12.4 | 10 | 8 | 10 | 10 | 8 | 10 | 12 | 0 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.2 |  |  |  | Sanitary Hot water | kWh |  | 1755.8839 | 640 | 15304.0004 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.3 | 1.15 | 0 | 0 | 0 | [13 empty] | 7 | 4.6 | 8 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 1 | 1 | 2 | 2 | 0 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.4 |  |  |  | Heat | kWh |  | discount rate | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 5 | 3 | 5 | 0 | 0 | 0 | 0 | 5 | 3 | 5 | 0 | 0 | 0 | 0 | -0.1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | SHW | kWh | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | n.5 |  |  |  | Cool | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.05 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.6 |  |  |  | Cooking | kWh |  | 0.0425 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 2 | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 2 | 0 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.7 |  |  |  | Natural Gas | smc | [8 empty] | 0 | 0 | 0 | 0 | 1.0526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22844 | 0 | [13 empty] | 0.11422 | 0.22844 | 0.45687 | 0.11422 | 0.22844 | 0.45687 | 0.45687 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | d | [23 empty] | I_at | [18 empty] | EE constraint | [6 empty] | Install TI |  | d*X'-Q = 0 | [7 empty] | (Xmax-X_agg_no_stor) ' > 0
[5 empty] | a.1 | PV | kWh |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 1 | [6 empty] | 0 |  | -1e-07 | 0 | -3e-07 | 0 | 0 | 0 | 0 |  | -0.9 | -1.8 | -0.9 | -1.8 | -2.7 | -1.8 | 0
[5 empty] | a.2 | National Grid import | kWh |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | [6 empty] | TI inv cost |  | -1.0142 | 0 | -2 | 0 | 0 | 0 | 0 |  | -7.2294 | -5.7778 | -10.7 | -10.2 | -3.8 | -10.4 | -10.7
[5 empty] | a.3 | National Grid export | kWh |  | -1 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | -1 | [6 empty] | 10000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.4 | Battery charge | kWh |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | [7 empty] | 1 | [8 empty] | 1.0142 | 0 | 2 | 0 | 0 | 0 | 0 |  | -5.9858 | -4.6 | -6 | -1 | -1 | -2 | -2
[6 empty] | Gas boiler heating | kWh |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.5a | HP heating winter | kWh |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -5 | -3 | -5 | 0 | 0 | 0 | 0
[5 empty] | a.5b | HP heating summer | kWh |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.5c | HP cooling summer | kWh |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.6 | AC | kWh |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | [16 empty] | 5.5 | 5 | 4 | 5.5 | 5 | 4 | 4
[5 empty] | a.7 | HW storage charge | kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [7 empty] | 0 | [16 empty] | -0.11422 | -0.22844 | -0.45687 | -0.11422 | -0.22844 | -0.45687 | -0.45687
[6 empty] | HW storage discharge | kWh |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[5 empty] | a.8 | Radiators | kWh |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
[5 empty] | a.9 | Floor heating | kWh |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
[5 empty] | a.10 | Induction stove | kWh |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | [7 empty] | 0
[5 empty] | a.11 | Gas stove | kWh |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [7 empty] | 0
[5 empty] | a.12 | Natural Gas supply grid | smc |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | [7 empty] | 0
Activity contraints>0
[6 empty] | Operative costs | €/- | [8 empty] | 0 | 0.15 | -0.08 | 0 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0.55 | [36 empty] | EE export and storage | #VALUE!
[6 empty] | Capital costs | €/- | [24 empty] | c_c | 2000 | 100 | 1000 | 3000 | 2000 | 3000 | 7000 | 250 | 150 | 60 | 2000 | 200 | [23 empty] | HW storage
[6 empty] | initial capacity | - | [24 empty] | C_i | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | [23 empty] | BEV charge home
[33 empty] | Capacity factor | [35 empty] | x_ch-x_disc < max_HW
d.1 | h.1 | [31 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | [24 empty] | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 | #N/A
d.1 | h.2 | [31 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1
d.1 | h.3 | [31 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | [24 empty] | x_ch-x_disc > min_HW
d.2 | h.1 | [31 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | [24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | #N/A
d.2 | h.2 | [31 empty] | 0.3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1
d.2 | h.3 | [31 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1
peak | peak_hour | [31 empty] | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1
[16 empty] | X | [16 empty] | soc min | HW | soc max | HW | soc start | HW | max dis | HW | min dis
d.1 | h.1 |  |  |  |  | Production | [9 empty] | 0.9 | 8.9294 | 0 | 5.3333 | 0 | 5.9858 | 0 | 0 | 0 | 1.0142 | 1.0142 | 5 | 0 | 0 | 0.5 | 0.11422 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6
d.1 | h.2 | [14 empty] | 1.8 | 7.4778 | 0 | 0 | 0 | 4.6 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0.22844 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6
d.1 | h.3 | [14 empty] | 0.9 | 12.4 | 0 | 1.8667 | 0 | 6 | 0 | 0 | 0 | 2 | 2 | 5 | 0 | 0 | 2 | 0.45687 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6
d.2 | h.1 | [14 empty] | 1.8 | 11.9 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.11422 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6
d.2 | h.2 | [14 empty] | 2.7 | 5.5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.22844 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6
d.2 | h.3 | [14 empty] | 1.8 | 12.1 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.45687 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 1 | -0.6
peak | peak_hour | [14 empty] | 0 | 12.4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.45687 | [7 empty] | 0 | 0 | -0.6
[16 empty] | C_oper_tot | [16 empty] | SOC min
d.1 | h.1 | [14 empty] | 0 | 1.3394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06282 |  | 0.1 | 0 | 0.9 | 0.99
d.1 | h.2 | [14 empty] | 0 | 1.1217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12564 |  | 0.1 | 0 | 0.9 | 0.99 | [32 empty] | Season limit >0
d.1 | h.3 | [14 empty] | 0 | 1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25128 |  | 0.1 | 0 | 0.9 | 0.99 | [32 empty] | -5.9858 | -4.6 | -6 | 0 | 0 | 0 | 0
d.2 | h.1 | [14 empty] | 0 | 1.785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06282 |  | 0.1 | 0 | 0.9 | 0.99 | [32 empty] | 0 | 0 | 0 | -1 | -1 | -2 | -2
d.2 | h.2 | [7 empty] | Days per type | [6 empty] | 0 | 0.825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12564 |  | 0.1 | 0 | 0.9 | 0.99
d.2 | h.3 | [6 empty] | d.1 | d.2 | peak | [5 empty] | 0 | 1.815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25128 |  | 0.1 | 0 | 0.9 | 0.99 | [32 empty] | Active units
peak | peak_hour | [6 empty] | 190 | 175 | 0 | [5 empty] | 0 | 1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25128 | [36 empty] | >=0 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1 | -1
[33 empty] | Xmax_no_stor | [34 empty] | >=0 | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1 | 1
d.1 | h.1 | [19 empty] | 0.7 | 0 | [10 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.1 | h.2 | [6 empty] | I_hd | [12 empty] | 0.7 | 0 | [10 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.1 | h.3 | [6 empty] | 1 | 0 | 0 | [10 empty] | 0.7 | 0 | [10 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.2 | h.1 | [6 empty] | 1 | 0 | 0 | [10 empty] | 0 | 1 | [10 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.2 | h.2 | [6 empty] | 1 | 0 | 0 | [10 empty] | 0 | 1 | [10 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
d.2 | h.3 | [6 empty] | 0 | 1 | 0 | [10 empty] | 0 | 1 | [10 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
peak | peak_hour | [6 empty] | 0 | 1 | 0 | [10 empty] | 0 | 1 | [10 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0
[8 empty] | 0 | 1 | 0 | [5 empty] | Activity seasonal limit | [16 empty] | X_agg (no_stor)
d.1 | h.1 | [6 empty] | 0 | 0 | 1 | [10 empty] | 0 | 0 | [10 empty] | 0.9 | 8.9294 | 0 | 5.9858 | 0 | 5 | 0 | 0 | 0.5 | 0.11422 | 5.3333 | 2.0284
d.1 | h.2 | [19 empty] | 0 | 0 | [10 empty] | 1.8 | 7.4778 | 0 | 4.6 | 0 | 3 | 0 | 0 | 1 | 0.22844 | 0 | 0
d.1 | h.3 | [19 empty] | 0 | 0 | [10 empty] | 0.9 | 12.4 | 0 | 6 | 0 | 5 | 0 | 0 | 2 | 0.45687 | 1.8667 | 4
d.2 | h.1 | [19 empty] | 0 | 0 | [10 empty] | 1.8 | 11.9 | 0 | 1 | 0 | 0 | 0 | 0 | 0.5 | 0.11422 | 0 | 0
d.2 | h.2 | [19 empty] | 0 | 0 | [10 empty] | 2.7 | 5.5 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.22844 | 0 | 0
d.2 | h.3 | [19 empty] | 0 | 0 | [10 empty] | 1.8 | 12.1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0.45687 | 0 | 0
peak | peak_hour | [19 empty] | 0 | 0 | [10 empty] | 0 | 12.4 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0.45687 | 0 | 0
[7 empty] | year |  | 1/(1+r)^y | [23 empty] | capacity units
[7 empty] | 0 |  | 1 | [23 empty] | 1 | 0.5 | 5 | 4 | 5 | 20 | 20 | 3 | 3 | 0 | 3 | 5
[7 empty] | 1 |  | 0.95923 | [23 empty] | new_units
[7 empty] | 2 |  | 0.92013 | [23 empty] | 0 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0
[7 empty] | 3 |  | 0.88262 | [23 empty] | cap_new
[7 empty] | 4 |  | 0.84663 | [23 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0
[7 empty] | 5 |  | 0.81212 | [6 empty] | Activity capacity | [16 empty] | Tot capacity
[7 empty] | 6 |  | 0.77901 | [6 empty] | 0 | 1.7 | 1.7 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 6 | 0 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1 | 1
[7 empty] | 7 |  | 0.74725 | [23 empty] | capacity_cost
[7 empty] | 8 |  | 0.71679 | [23 empty] | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 9 |  | 0.68757 | [23 empty] | period_cost
[33 empty] | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170 | 0 | 0
active_techs
[33 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
yearly_costs
[33 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on BW34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Su pyesm è ore x tech perchè non c’è un filtro per le 3 tech interessate

## No_heaters
time_day | [38 empty] | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak |  |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | peak
| time_hour | [37 empty] | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour |  |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | peak_hour
|  | needs | [6 empty] | n.1 | n.2 | n.4 | n.5 | n.6 | n.7
|  |  | flows | [25 empty] | non-storage technologies | [7 empty] | Storage technology
|  |  |  | techs | [24 empty] | t.1 | t.2 |  | t.3 |  | t.9 | t.10 | t.11 | t.12 | t.13
[5 empty] | activ | [9 empty] | a.1 | a.2 | a.3 | a.4 |  | a.5a | a.5b | a.5c | a.6 | a.7 | a.10 | a.11 | a.12
[6 empty] | name |  |  | EE | Sanitary Hot water | Heat | Cool | Cooking | Natural Gas | PV | National Grid import | National Grid export | Battery charge | Boiler heating | HP heating winter | HP heating summer | HP cooling summer | AC | HW storage charge | Induction stove | Gas stove | Natural Gas supply grid |  | PV | National Grid | Gas Boiler | HP | AC | Induction stove | Gas stove | Natural Gas supply grid | Battery | HW storage
[7 empty] | unit |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | smc |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | smc | kWh | kWh
[15 empty] | u | [23 empty] | Q_needs | [6 empty] | Y | [6 empty] | Thermal Insulation | TI | Q_n-uX'-Y-curtail = 0 | [7 empty] | Curtailment
|  | n.1 |  |  |  | EE | kWh |  | n.1: opex; n.2: capex; n.4: min(cost) | 0 | 0 | 0 | 0 | 0 | 0.27778 | 0.2 | 0.16667 | 0 | 0 | 1.25 | 0 | 0 | [11 empty] | 15.1627 | 9.2778 | 15.1667 | 13.7 | 8.2 | 13.9 | 12.4 | 10 | 8 | 10 | 10 | 8 | 10 | 12 | 0 | 1 | 3.5 | 2.2222e-08 | 3.5 | 3.5 | -8.8818e-16 | 3.5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.2 |  |  |  | Sanitary Hot water | kWh |  | n.1: #N/A; n.2: 640; n.4: #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-05 | 0 | 0 | 0 | [11 empty] | 7 | 4.6 | 8 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 1 | 1 | 2 | 2 | 0 | 1 | 6 | 3.6 | 6 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.4 |  |  |  | Heat | kWh |  | n.1: discount rate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 5 | 3 | 5 | 0 | 0 | 0 | 0 | 5 | 3 | 5 | 0 | 0 | 0 | 0 | -0.1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.5 |  |  |  | Cool | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.05 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.6 |  |  |  | Cooking | kWh |  | n.1: 0.0425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 2 | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | n.7 |  |  |  | Natural Gas | smc | [7 empty] | 0 | 0 | 0 | 0 | 1.0526 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22844 | 0 | [11 empty] | 0.11422 | 0.22844 | 0.45687 | 0.11422 | 0.22844 | 0.45687 | 0.45687 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3.7427e-09 | -2.5146e-09 | 4.9708e-09 | 3.7427e-09 | -2.5146e-09 | 4.9708e-09 | 4.9708e-09 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[29 empty] | I_at | [16 empty] | EE constraint | HW constraint | [5 empty] | Install TI |  | d*X'-Q = 0 | [7 empty] | (Xmax-X_agg_no_stor) ' > 0 | bar: n.1
[5 empty] | a.1 | PV | kWh |  | 1 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 1 | 0 | [5 empty] | 0 |  | -1e-07 | 0 | -3e-07 | 0 | 0 | 0 | 0 |  | #N/A | -1.8 | -0.9 | -1.8 | -2.7 | -1.8 | 0
[5 empty] | a.2 | National Grid import | kWh |  | 1 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0 | [5 empty] | TI inv cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -8.9294 | -7.4778 | -12.4 | -11.9 | -5.5 | -12.1 | -12.4
[5 empty] | a.3 | National Grid export | kWh |  | -1 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | -1 | 0 | [5 empty] | 10000 |  | 0.9858 | 1.6 | 1 | 1 | 1 | 2 | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.4 | Battery charge | kWh |  | 1 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | [7 empty] | 1 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -5.9858 | -4.6 | -6 | -1 | -1 | -2 | -2
[6 empty] | Gas boiler heating | kWh |  | 0 | 1 | 1 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 1 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.5a | HP heating winter | kWh |  | 0 | 1 | 1 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 1 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.5b | HP heating summer | kWh |  | 0 | 1 | 1 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 1 | [15 empty] | -0.5 | -1 | -2 | -0.5 | -1 | -2 | -2
[5 empty] | a.5c | HP cooling summer | kWh |  | 0 | 0 | 0 | 1 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0 | [15 empty] | -0.11422 | -0.22844 | -0.45687 | -0.11422 | -0.22844 | -0.45687 | -0.45687
[5 empty] | a.6 | AC | kWh |  | 0 | 0 | 0 | 1 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0
[5 empty] | a.7 | HW storage charge | kWh |  | 0 | 1 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [7 empty] | 0 | 1
[5 empty] | a.10 | Induction stove | kWh |  | 0 | 0 | 0 | 0 | 1 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0
[5 empty] | a.11 | Gas stove | kWh |  | 0 | 0 | 0 | 0 | 1 | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [7 empty] | 0 | 0
[5 empty] | a.12 | Natural Gas supply grid | smc |  | 0 | 0 | 0 | 0 | 0 | 1 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | [7 empty] | 0 | 0
Activity contraints>0
[6 empty] | Operative costs | €/- | [7 empty] | 0 | 0.15 | -0.08 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0.55 | [34 empty] | EE export and storage | 6.2333 | 1.8 | 2.7667 | 1.8 | 2.7 | 1.8 | 0
[6 empty] | Capital costs | €/- | [20 empty] | c_c | 2000 | 100 | 1000 | 3000 | 2000 | 250 | 150 | 60 | 2000 | 200 | [23 empty] | HW storage | 7 | 4.6 | 8 | 1 | 1 | 2 | 2
[6 empty] | initial capacity | - | [20 empty] | C_i | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | BEV charge home
[29 empty] | Capacity factor | [7 empty] | SOC |  | Start cooling | HW | Cooling factor |  |  |  |  | Thh | [16 empty] | max-SOC>0
d.1 | h.1 | [27 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -5.3333 | #REF! | 1 | 1 | 0.986 |  |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 5.3333 | 5.3333 | 7.2 | 7.2 | 7.2 | 7.2
d.1 | h.2 | [27 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -5.3333 | #REF! | 1 | 0.986 | [5 empty] | 1 | 1 | 0 | 0 | 0 | 0 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.1 | h.3 | [27 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7.2 | #REF! | 1 | 0.9722 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0
d.2 | h.1 | [27 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7.2 | #REF! | 1 | 0.95859 | [5 empty] | 1 | 1 | 1 | 1 | 0 | 0 | [11 empty] | SOC-min>0
d.2 | h.2 | [27 empty] | 0.3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7.2 | #REF! | 1 | 0.94517 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 0 | [11 empty] | -5.3333 | -5.3333 | -7.2 | -7.2 | -7.2 | -7.2
d.2 | h.3 | [27 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7.2 | #REF! | 1 | 0.93193 | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
peak | peak_hour | [27 empty] | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [26 empty] | MAX_dis-X_ch>0
[15 empty] | X | [13 empty] | soc min | HW | soc max | HW | soc start | HW | min dis | [10 empty] | Thh cooling | [16 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.1 | h.1 |  |  |  |  | Production | [8 empty] | 0.9 | 8.9294 | 0 | 5.3333 | 0 | 5.9858 | 0 | 0 | 0 | 1.0142 | 0 | 0.5 | 0.11422 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 1 | -0.6 | [10 empty] | 1 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.1 | h.2 | [13 empty] | 1.8 | 7.4778 | 0 | 0 | 0 | 4.6 | 0 | 0 | 0 | 0 | 0 | 1 | 0.22844 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 1 | -0.6 | [10 empty] | 0.986 | 1 | 0 | 0 | 0 | 0 | [11 empty] | X_ch-MIN_ch>0
d.1 | h.3 | [13 empty] | 0.9 | 12.4 | 0 | 1.8667 | 0 | 6 | 0 | 0 | 0 | 2 | 0 | 2 | 0.45687 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 1 | -0.6 | [10 empty] | 0.9722 | 0.986 | 1 | 0 | 0 | 0 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.2 | h.1 | [13 empty] | 1.8 | 11.9 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0.5 | 0.11422 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 1 | -0.6 | [10 empty] | 0.95859 | 0.9722 | 0.986 | 1 | 0 | 0 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.2 | h.2 | [13 empty] | 2.7 | 5.5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.22844 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 1 | -0.6 | [10 empty] | 0.94517 | 0.95859 | 0.9722 | 0.986 | 1 | 0 | [11 empty] | max-BEV SOC>0
d.2 | h.3 | [13 empty] | 1.8 | 12.1 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0.45687 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 1 | -0.6 | [10 empty] | 0.93193 | 0.94517 | 0.95859 | 0.9722 | 0.986 | 1 | [11 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
peak | peak_hour | [13 empty] | 0 | 12.4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0.45687 | [6 empty] | 0 | -0.6 | [27 empty] | BEV SOC-min>0
[15 empty] | C_oper_tot | [13 empty] | SOC min |  | SOC max |  | SOC start |  | MIN dis | [27 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
d.1 | h.1 | [13 empty] | #N/A | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
d.1 | h.2 | [27 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [28 empty] | Season limit >0
d.1 | h.3 | [27 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [28 empty] | -5.9858 | -4.6 | -6 | 0 | 0 | 0 | 0
d.2 | h.1 | [27 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [28 empty] | 0 | 0 | 0 | -1 | -1 | -2 | -2
d.2 | h.2 | [7 empty] | n.1: Days per type | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
d.2 | h.3 | [6 empty] | d.1 | n.1: d.2; n.2: peak | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [28 empty] | Active units
peak | peak_hour | [6 empty] | 190 | n.1: 175; n.2: 0 | [47 empty] | >=0 | 0 | -1.7 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0
[29 empty] | Xmax_no_stor | [32 empty] | >=0 | 0 | 1.7 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0
d.1 | h.1 | [18 empty] | 0.7 | 0 | [7 empty] | #N/A
d.1 | h.2 | [6 empty] | I_hd | [11 empty] | 0.7 | 0
d.1 | h.3 | [6 empty] | 1 | n.1: 0; n.2: 0 | [5 empty] | 0.7 | 0
d.2 | h.1 | [6 empty] | 1 | n.1: 0; n.2: 0 | [5 empty] | 0 | 1
d.2 | h.2 | [6 empty] | 1 | n.1: 0; n.2: 0 | [5 empty] | 0 | 1
d.2 | h.3 | [6 empty] | 0 | n.1: 1; n.2: 0 | [5 empty] | 0 | 1
peak | peak_hour | [6 empty] | 0 | n.1: 1; n.2: 0 | [5 empty] | 0 | 1
[8 empty] | 0 | n.1: 1; n.2: 0 | Activity seasonal limit | [13 empty] | X_agg (no_stor)
d.1 | h.1 | [6 empty] | 0 | n.1: 0; n.2: 1 | [5 empty] | 0 | 0 | [7 empty] | 0.9 | 8.9294 | 0 | 5.9858 | 0 | 0 | 0.5 | 0.11422 | 5.3333 | 1.0142
d.1 | h.2 | [18 empty] | 0 | 0 | [7 empty] | 1.8 | 7.4778 | 0 | 4.6 | 0 | 0 | 1 | 0.22844 | 0 | 0
d.1 | h.3 | [18 empty] | 0 | 0 | [7 empty] | 0.9 | 12.4 | 0 | 6 | 0 | 0 | 2 | 0.45687 | 1.8667 | 2
d.2 | h.1 | [18 empty] | 0 | 0 | [7 empty] | 1.8 | 11.9 | 0 | 1 | 0 | 0 | 0.5 | 0.11422 | 0 | 0
d.2 | h.2 | [18 empty] | 0 | 0 | [7 empty] | 2.7 | 5.5 | 0 | 1 | 0 | 0 | 1 | 0.22844 | 0 | 0
d.2 | h.3 | [18 empty] | 0 | 0 | [7 empty] | 1.8 | 12.1 | 0 | 2 | 0 | 0 | 2 | 0.45687 | 0 | 0
peak | peak_hour | [18 empty] | 0 | 0 | [7 empty] | 0 | 12.4 | 0 | 2 | 0 | 0 | 2 | 0.45687 | 0 | 0
[7 empty] | year |  | n.1: 1/(1+r)^y | [14 empty] | capacity units
[7 empty] | 0 | [21 empty] | 1 | 0.5 | 5 | 4 | 5 | 3 | 3 | 0 | 3 | 5 | bar: n.1
[7 empty] | 1 |  | n.1: 0.95923 | [14 empty] | new_units
[7 empty] | 2 |  | n.1: 0.92013 | [14 empty] | 0 | 3.4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0
[7 empty] | 3 |  | n.1: 0.88262 | [14 empty] | cap_new
[7 empty] | 4 |  | n.1: 0.84663 | [14 empty] | 0 | 1.7 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0
[7 empty] | 5 |  | n.1: 0.81212 | Activity capacity | [13 empty] | Tot capacity
[7 empty] | 6 |  | n.1: 0.77901 | 0 | 1.7 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 |  | 0 | 1.7 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0
[7 empty] | 7 |  | n.1: 0.74725 | [14 empty] | capacity_cost
[7 empty] | 8 |  | n.1: 0.71679 | [14 empty] | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 9 |  | n.1: 0.68757 | [14 empty] | period_cost
[29 empty] | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 170 | 0 | 0
active_techs
[29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
yearly_costs
[29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on BQ30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Su pyesm è ore x tech perchè non c’è un filtro per le 3 tech interessate